**Supplementary Table 2**. Tandem Mass Spectrometric Parameters

|  |  |  |  |
| --- | --- | --- | --- |
| **Compound** | **MRM Transition** | **Dwell Time (ms)** | **Collision Energy (eV)** |
| PF-07059013 | 366.1 → 188.1 | 100 | 25 |
| PF-07221410 | 370.1 → 192.1 | 100 | 25 |
|  | | | |
| Pause time | | 5 ms | |
| Q1 Resolution | | Unit | |
| Q3 Resolution | | Unit | |
| DP | | 120 | |
| EP | | 10 | |
| CXP | | 18 | |
| CAD | | 10 | |
| CUR | | 30 | |
| GS1 | | 50 | |
| GS2 | | 50 | |
| IS | | 5500V | |
| Temperature | | 650 °C | |