Table

Description automatically generated

**Supplemental Figure 1.** Extraction Details

**Supplemental Table 1: 2% hemolyzed plasma test results at LQC (0.60 ng/mL) and HQC (80 ng/mL) levels. For both LQC and HQC levels, 6 replicates were extracted/analyzed.**

|  |  |  |  |
| --- | --- | --- | --- |
|  | **LQC level (0.60 ng/mL)** |  | **HQC level (80 ng/mL)** |
| Replicate 1 | 0.546 |  | 80.5 |
| Replicate 2 | 0.561 |  | 79.2 |
| Replicate 3 | 0.554 |  | 78.6 |
| Replicate 4 | 0.560 |  | 80.8 |
| Replicate 5 | 0.527 |  | 80.6 |
| Replicate 6 | 0.553 |  | 81.6 |
|  |  |  |  |
| Average | 0.550 |  | 80.2 |
| %CV | 2.29 |  | 1.38 |
| Accuracy (%) | 91.69 |  | 100.27 |

**Supplemental Table 2: Hyperlipidemic plasma test results at LQC (0.60 ng/mL) and HQC (80 ng/mL) levels. For both LQC and HQC levels, 6 replicates were extracted/analyzed.**

|  |  |  |  |
| --- | --- | --- | --- |
|  | **LQC level (0.60 ng/mL)** |  | **HQC level (80 ng/mL)** |
| Replicate 1 | 0.603 |  | 85.8 |
| Replicate 2 | 0.592 |  | 88.8 |
| Replicate 3 | 0.632 |  | 89.4 |
| Replicate 4 | 0.603 |  | 87.0 |
| Replicate 5 | 0.563 |  | 85.1 |
| Replicate 6 | 0.558 |  | 86.7 |
|  |  |  |  |
| Average | 0.592 |  | 87.1 |
| %CV | 4.68 |  | 1.92 |
| Accuracy (%) | 98.64 |  | 108.92 |

**Supplemental Table 3; Recovery for analyte and ISTD at LQC, MQC, and HQC levels.**

|  |  |  |
| --- | --- | --- |
|  | Analyte peak area | ISTD peak area |
| LQC (n=6) | 6,462 | 134,163 |
| LQC post-spiked (n=3) | 10,494 | 238,554 |
| Recovery | 61.6 | 56.2 |
|  |  |  |
| MQC (n=6) | 459,578 | 120,661 |
| MQC post-spiked (n=3) | 843,507 | 231,508 |
| Recovery | 54.5 | 52.1 |
|  |  |  |
| HQC (n=6) | 711,367 | 117,734 |
| HQC post-spiked (n=3) | 1,253,762 | 219,767 |
| Recovery | 56.7 | 53.6 |

**Supplemental Table 4; matrix factor for both analyte and internal standard**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Analyte | |  | ISTD | |
|  | Area Counts | Matrix Factor |  | Area Counts | Matrix Factor |
| LQC Matrix Lot 1 (n=1) | 10,498 | 0.951 |  | 240,899 | 0.992 |
| LQC Matrix Lot 2 (n=1) | 10,797 | 0.978 |  | 239,820 | 0.987 |
| LQC Matrix Lot 3 (n=1) | 10,988 | 0.995 |  | 239,607 | 0.986 |
| LQC Matrix Lot 4 (n=1) | 9,679 | 0.877 |  | 237,997 | 0.980 |
| LQC Matrix Lot 5 (n=1) | 10,602 | 0.960 |  | 241,656 | 0.995 |
| LQC Matrix Lot 6 (n=1) | 11,234 | 1.017 |  | 240,934 | 0.992 |
| LQC post spiked (no matrix; n=3) | 11,042 |  |  | 242,961 |  |
|  |  |  |  |  |  |
| HQC Matrix Lot 1 (n=1) | 1,307,749 | 0.978 |  | 223,333 | 0.992 |
| HQC Matrix Lot 2 (n=1) | 1,305,557 | 0.977 |  | 224,093 | 0.995 |
| HQC Matrix Lot 3 (n=1) | 1,363,833 | 1.020 |  | 232,722 | 1.034 |
| HQC Matrix Lot 4 (n=1) | 1,148,902 | 0.859 |  | 229,829 | 1.021 |
| HQC Matrix Lot 5 (n=1) | 1,297,819 | 0.971 |  | 224,194 | 0.996 |
| HQC Matrix Lot 6 (n=1) | 1,339,689 | 1.002 |  | 221,232 | 0.983 |
| HQC post spiked (no matrix; n=3) | 1,336,927 |  |  | 225,140 |  |